## Tabelle1
Description | Tablero
3022218 End clamp - CLIPFIX 35 (phoenixcontact) | 27
3030514 End cover - D-ST 2,5-QUATTRO - 3030514 (phoenixcontact) | 21
3208375 End cover D-PT 1,5/S-QUATTRO (phoenixcontact) | 20
3208579 Double Level Cover Gray 1,5 (phoenixcontact) | 12
3208511 double-level terminal block 1,5 (phoenixcontact) | 84
3208197 feed-through terminal block 1,5 (phoenixcontact) | 82
3209578 Feed-through terminal block - PT 2,5-QUATTRO (phoenixcontact) | 64
3209581 Feed-through terminal block - PT 2,5-QUATTRO BU (phoenixcontact) | 21
3209594 Borne de tierra para carril - PT 2,5-QUATTRO-PE (phoenixcontact) | 7
AF16Z-30-10-21 (ABB) | 11
3025044 Fuse modular terminal block - PT 6-DREHSILA 250 (5X20) (phoenixcontact) | 14
2900958 "RIF-0 relay base, PDT version, safe isolation I/O (phoenixcontact) | 54
2900934 "4-changeover-contact relay base (phoenixcontact) | 10
2905744 Electronic device circuit breaker - CBM E8 24DC/0.5-10A NO-R - (phoenixcontact) | 1
2905489 Redundancy module - UNO-DIODE/5-24DC/2X10/1X20 (phoenixcontact) | 1
2904372 Power supply unit - UNO-PS/1AC/24DC/240W (phoenixcontact) | 2
1085254 Industrial Ethernet Switch - (phoenixcontact) | 1
BL2 BPC 9100 - Box PC | 1
WT333E Digital Power Analyzer suffix code: D -C2 | 1
EPSCPE 100 | 1
LICENCIA PARA PAC MACHINE EDICION 10.0 EMERSON, MODELO: ME100MBP001 TIEMPO DE ENTREGA: NO SE ENTREGARA USB | 1
PX655-05DI | 2
EPXPNS001 | 1
EP-125F | 4
EP-225F | 4
EP-3368 | 2
EP-5261 | 3
5600639 EM-DUO 120/15/GFI/AUX CAJA AUXILIAR 110 (phoenixcontact) | 1
2909642 REL-MR-24DC/21/MS (phoenixcontact) | 54
2909902 PTCB E1 24DC/1A NO (phoenixcontact) | 4
1408794 HC-EVO-B16PT-BWSC-HH-M32-PLRBK (phoenixcontact) | 2
1408793 HC-EVO-B16PT-BWSC-HH-M25-PLRBK (phoenixcontact) | 2
3240192 canaleta CD 40X60 (phoenixcontact) | 24
1206421 NS 35/ 7,5 ZN PERF 2000MM (phoenixcontact) | 5.36 M
P2AWMR8. RIELES DE GESTION DE CABLES PROLINE G2 DE 800MM MCA | 2
PC1M12. KIT DE RUEDAS PARA TRANSPORTACION SERIE PROLINE MCA | 2
P2ACEGP. PLACA DE ENTRADA PARA CABLE MCA HOFFMAN | 2
P2ASHFP8EXT. REPISA TIPO RACK, 800MM MARGO G2 DE 31.5" MCA HOFFMAN | 4
P2G3R8. SOPORTE DE MONTAJE, REJILLA, 3FILAS, 800MM, ACERO, 800 MM, 75 MM | 4
P2RSFH88. MARCO DE BASTIDOR ABATIBLE PARA SERVICIO PESADO PROLINE | 2
PGS6K. SISTEMA DE BARRA DE TIERRA DE 600 MM MCA HOFFMAN | 2
P2CS188. CUBIERTA LATERAL 1800x800 MCA HOFFMAN | 4
P2DO188. PUERTA SOLIDA PROLINE G2 1800MM X 800MM MCA HOFFMAN | 2
P2DW188. PUERTA VENTANA, SENCILLA, PC, 1.8M X 800MM, PROLINE G2 MCA | 2
P2BGP88. PLACA GLANDULA PROLINE G2 800x800 MCA HOFFMAN | 2
P2F1888. MARCO PROLINE G2 1800MMX800X800 MCA HOFFMAN | 2
P2T88. TAPA SUPERIOR PARA GABINETE PROLINE G2 (800X800MM) MCA | 2
P2AJSB. KIT DE ARMADO SELLADO MCA HOFFMAN | 2
P2B188. BASE PARA GABINETE CON FRAME SELLADA PROLINE G2 ( 800 X 800) | 2
NS3EV93-IP65 MAIN SWITCH | 2
BREAK SIEMENS 20A | 6
BREAK SIEMENS10A | 6
BREAK SIEMENS 5A | 6
HF1016514. ENFRIADOR DE CARCASA, 159 CFM, PLÁSTICO, 257MM, 258MM, 119MM MCA HOFFMAN | 2
39118 001, CABLE DE CONTROL MONOPOLAR P/TABLEROS ELECTRICOS- ELECTRONICOS/ 18AWG/ AISL PPO CAFE/ 600V 105°C (BELDEN)
39118 010, CABLE DE CONTROL MONOPOLAR P/TABLEROS ELECTRICOS- ELECTRONICOS/ 18AWG/ AISL PPO NEGRO/ 600V 105°C (BELDEN)
39118 013, CABLE DE CONTROL MONOPOLAR P/TABLEROS ELECTRICOS- ELECTRONICOS/ 18AWG/ AISL PPO AZUL/ 600V 105°C (BELDEN)
39118 009, CABLE DE CONTROL MONOPOLAR P/TABLEROS ELECTRICOS- ELECTRONICOS/ 18AWG/ AISL PPO BLANCO/ 600V 105°C (BELDEN)
GDG5, FUSIBLE CILINDRICO VIDRIO 5X20mm (T.EUROPEO) ACCION RETARDADA 5A 250VCA | 10
GSB10, FUSIBLE CILINDRICO VIDRIO 5X20mm (T.EUROPEO) ACCION RAPIDA 10A 250VCA | 10
Compact Strip Machine Light, Magnetic Mount, 16-3/16" Long x 11/16" Wide Overall | 2
3213056 FBS-10-3,5 ROJO (phoenixcontact) | 8
3213125 FBS-10-3,5, AZUL (phoenixcontact) | 3
3036916 FBS-10-5.AZUL (phoenixcontact) | 6
3030213 FBS-10-5,ROJO (phoenixcontact) | 2
3030349 FBS-5-6 ROJO (phoenixcontact) | 2
FBS 10-6 - Plug-in bridge Rojo (phoenixcontact) 3030271 | 10
FBS 10-6 BU - Plug-in bridge Azul (phoenixcontact) 3032198 | 20
FBS 10-6 GY - Plug-in bridge (phoenixcontact) 3032253 | 20
ÖLFLEX® CLASSIC 110 18G0,75 1119118
OLFLEX CLASSIC 110 10 G 0.5 1119010 (LAPP)
OLFLEX CLASSIC 110 3 G 0.5 1119003 (LAPP)
OLFLEX CLASSIC 110 CY BLACK 0,6/1KV 7 G 2,5 1121344 (LAPP)
OLFLEX CLASSIC 110 CY BLACK 0,6/1KV 25 G 1 1121290 (LAPP)
OLFLEX CLASSIC 110 18 G 0.5 1119018
M21-750-595-WT ETIQUETAS | 5
1200105 FERRULE GRIS 0.75 (phoenixcontact) | 500
1200106 FERRULE ROJO 1,0 (phoenixcontact) | 500
1200107 FERRULE NEGRO 1,5 (phoenixcontact) | 1000
1415241 MC-35/37-MULTI-67-PVO-BK (phoenixcontact) | 1
MAD0608030R5. ARMARIO DE ACERO CON PUERTA DOBLE DE 600X800X300 MCA HOFFMAN | 1
AMP06080. PANEL FITS 600X800MM MCA ELDON (*ND) | 1
ViewSonic TD2465 - 1080p IPS Touch Screen Monitor with Advanced Ergonomics, HDMI, USB - 250 cd/m² - 24" | 1
StarTech.com 15ft HDMI Cable - 4K High Speed HDMI Cable w/ Ethernet - HDMI 1.4 - HDMI Monitor Cable - HDMI to HDMI Cable (2) | 2
StarTech.com 10ft VESA Certified DisplayPort Cable - 10 Pack - DisplayPort 1.2 Cable, 4K 60Hz, Latching DP Connectors | 2
StarTech.com Desk Mount Dual Monitor Arm - up to 32 Displays - Desk Clamp/Grommet - Articulating | 2
Washdown D-Sub Connector, Straight Backshell Plug, DB9 Connection MALE | 10
Washdown D-Sub Connector, Straight Backshell Socket, DB9 Connection FEMALE | 10
StarTech.com 3ft (91cm) 1-Port USB to RS232 DB9 Serial Adapter Cable, USB to Serial Adapter Cable - M/M | 4
HIPOTULTRA MODEL 7820 W/USB | 1
BEHLMAN 3 phases modelo BL3X350C-8 | 1
APS-7100 GW INSTEK PS 600V, ETHERNET, RS232 | 4
MONARCH ACT-3X-3-3-4-1-0-0 Power Options: (3) Isolated 24 V dc Input Power Sensor Power Option: (3) 24 V dc Sensor Power Output Options: (4) 4-20mA Isolated Output Communication Options: (1) RS232 Bi-Directional Serial w/9-pin Connector Alarm Relays: (0) None Bently Modification: (0) None | 2
FIIXTURE DE PRUEBAS DE PRUEBAS ELECTRICAS TESTER DE80+ CON GUARDA DE SEGURIDAD.
Note on B30: Martinez, Hector: